# Minor Home Repairs

## Introduction

This section describes the LIEE policies and procedures relating to minor home repairs.  Section 6.2 discusses the specific minor home repairs provided through the LIEE Program.  Section 6.3 describes Program limits on expenditures on general types of minor home repairs.  Finally, Section 6.4 describes the prioritization criteria that will be used by Program Managers to prioritize repairs for a specific home when not all needed minor home repairs can be made within the constraints of the budget limits for that home.

## Minor Home Repairs

Minor home repairs are repairs required to enable installation of weatherization measures, to reduce infiltration, or to mitigate a hazardous condition.

In owner-occupied homes receiving infiltration-reduction measures, minor home repairs include furnace repair or replacement and water heater repair or replacement, when necessary to mitigate  natural gas appliance testing (NGAT) fails that cannot be corrected with service by utility gas service personnel (or their designated representative).  Such NGAT fails may include, but are not limited to, CO above the action level, inadequate draft, unsafe flue/vent pipe/system, unacceptable flame or flame change when air handler comes on, a non-operable appliance, or the absence of a furnace in cases where another gas appliance is used for space heating.

In all homes receiving infiltration-reduction measures, minor home repairs also include other corrections needed to pass the NGAT protocol, including but not limited to, adding combustion and ventilation air (CVA) venting, and other corrections listed in Table 6-8.  It is the general policy of the LIEE Program that these repairs must be made if they are needed and feasible, subject to budgetary limits.  Table 6-1 through Table 6-8 present the minor home repairs that are provided under the LIEE Program.  Table 6-1 lists general structural repairs.  Table 6-2 enumerates repairs required to mitigate catastrophic envelope leaks.  Table 6-3 lists repairs necessary to support the installation of ceiling insulation.  Table 6-4 lists repairs required to support weather-stripping and caulking.  Table 6-5 indicates repairs required to install attic ventilation.  Table 6-6 lists repairs required to support the installation of water heating measures.  Finally, Table 6-7 enumerates repairs made to mitigate non-appliance hazards.  Finally, Table 6-8 indicates repairs required to mitigate natural gas appliance fails.

Table 6-1:  General Repairs

| Small holes in interior surface of wall | Windows |
| --- | --- |
| between conditioned and unconditioned | Replace glazing compound |
| Space | Replace glass |
| Repair holes 1” in diameter or smaller | Replace sash |
| Repair holes between 1” and 6” | Repair or replace mullions/muntins1 |
| Exterior wall | Install new window (not just glass)1 |
| Patch stucco (up to 36 sq. in.) | Install casing |
| Replace missing siding |  |

Table 6-2:  Repairs Required to Mitigate Catastrophic Envelope Leaks

| Large holes in interior surface of wall | Windows and Doors |
| --- | --- |
| between conditioned and unconditioned | Replace entire window1 |
| Space, | Replace entire door1 |
| Repair large portion of drywall or plaster (up to 4 sq. ft.). |  |
| Replace entire drywall or wood panels (up to 8 sq. ft.). |  |

Table 6-3:  Repairs Required to Support Installation of Ceiling Insulation

| Attic access | Retractable ladder |
| --- | --- |
| Install weather-stripping | Install cover |
| Repair access panel | Install frame and cover |
| Replace molding around access | Weather-strip opening |
| Cut new access hole/opening (interior only and only between joists) | Repair holes in ceiling |
| Reconnect Duct | Exhaust vent |
| Seal Return Plenum | Repair/replace bath vent pipe |
| Closet vent/ceiling | Repair/replace kitchen vent pipe |
| Cover vent with flexible insulation |  |
| Install solid material to cover opening |  |

Table 6-4:  Repairs Required to Support Weather-stripping and Caulking

| Door Replacement | Door Replacement (cont.) |
| --- | --- |
| Install door stops | Install/adjust striker plate |
| Replace door | Repair/replace subseal |
| Replace door jamb | Threshold Repairs/Replacement |
| Plane bottom of door | Install new threshold |
| Cut off bottom of door | Seal threshold |
| Replace interior casing | Install riser |
| Replace exterior casing | Caulking Preparation |
| Replace complete pre-hung door unit | Install backer rod |
| Adjust hinges | Clean surface of dirt and oils |
| Replace hinges |  |
| Adjust loose screws |  |
| Replace lock |  |
| Replace existing night latch |  |

Table 6-5:  Repairs Required to Install Attic Ventilation

| Gable vent | Eave/soffit vent |
| --- | --- |
| Install new vent | Clean screen |
| Replace screen | Replace screen |
| Repair existing wooden vent | Install new vent |
| Turbine/dormer vent |  |
| Install new vent |  |
| Repair existing vent |  |

Table 6-6:  Repairs Required to Install Water Heating Measures

Install combustion air vent

Install showerhead adapter

Table 6-7: Repairs Required to Mitigate Non-Appliance Hazards

Replace broken/cracked switch/outlet covers

Remove combustible and flammable materials from combustion air vent proper clearance zone.

Table 6-8:  Repairs Required to Mitigate Natural Gas Appliance Fails

| All Appliances | Cooking Appliances |
| --- | --- |
| Repair gas leaks Replace soldered gas connector | Correct mobile home kitchen exhaust defect. |
| Furnaces | Water Heaters |
| Correct CVA deficiency Clear covered CVA vent opening/ screen (Owner-Occupied) Repair or Replacement for non-op or NGAT Fail not correctable by Service | Correct CVA deficiency Extend vent pipe if termination is too close to evaporative cooler Clear covered CVA vent opening/ screen (Owner-Occupied) Repair or Replacement for non-op or NGAT Fail not correctable by Service |

## Limits on Minor Home Repairs

There are two types of limits on costs incurred for minor home repairs, including furnace repairs and replacements, water heater repairs and replacements, and other minor home repairs:

(	Average Cost Limits.  These are limits on the average cost of categories of service across all homes receiving the service in question.  They are designed to provide overall cost control for the provision of these services.

(	Individual Home Limits.  These are defined as limits on the cost that can be incurred for an individual home without the specific approval of the utility Program Manager.  Individual home limits are meant to provide for equity in the distribution of program funds across individual households but yet provide Program Managers enough flexibility to respond to individual customer needs and hardship situations.

These limits are presented in Table 6-9.  It should be noted that the expenditure limits apply to all minor home repairs, including any actions taken to respond to gas leak/carbon monoxide emission problems identified during the utility’s gas appliance testing procedures.

Table 6-9:  Caps on Minor Home Repairs

| Service | Average Cost per Home Receiving Service | Maximum Cost for Individual Home |
| --- | --- | --- |
| Furnace Replacements Central Furnaces Wall/Floor/Direct Vent Furnaces | - | $2,0001 $1,500 |
| Water Heater Repairs and Replacements (Total Combined Cost for home receiving one or the other) | $900 | $1,250 |
| Other Minor Home Repairs | $300 | $750 |
| Furnace Repairs (restriction on repair expenditures relative to cost of replacement) Central Furnaces Wall/Floor/Direct Vent Furnaces | - | 50%1 25% |
| Total of All Minor Home Repairs | - | $2,500 |

1  Does not include the costs of Title 24 compliance.

## Prioritization of Minor Home Repairs

In the event that a contractor requests permission from the utility Program Manager to exceed the limit on minor home repairs, the Program Manager will base a decision on the status of the Contractor’s minor home repair budget, the overall program budget, and the need for the repairs in question.  If the Program Manager deems it necessary to limit expenditures on the home, measures will be prioritized using the following general priority list:

(	Repairs needed to mitigate immediate hazards (e.g., repairs made to mitigate natural gas appliance testing (NGAT) fails, or door repairs where doors will not close or lock),

(	Repairs needed to mitigate major infiltration sources (e.g., broken windows, holes in doors, etc.),

(	Repairs required to permit the installation of a measure, and

(	Other repairs.

# Footnotes

Replaced only with Program Manager’s approval on a case-by-case basis.

Structural/framing members not included.

Surface left in a prepared-for-paint condition.

Subseal is directly under the riser which is directly under the threshold.