# Measure Installation Policies and Procedures

## Introduction

This section presents LIEE policies for Program measures that are covered in the LIEE WIS Manual.  Subsection 7.2 specifies general policies that apply to all measures, including contractor installation, installation standards, safety, site clean up, and other policies.  Subsection 7.3 identifies non-feasibility criteria and other policies applicable to individual measures and minor home repairs.  These measure-specific policies are also listed in the LIEE WIS Manual.

## General Installation Policies

### Introduction

Several general policies relating to the installation of Program measures must be followed by installation personnel.  These policies are presented below.

### Installation by Contractor

Measures must be installed by the contractor.  Dropping off materials for later installation by the customer is not permitted under this Program.

### Installation Standards

All measures must be installed in conformance with the California LIEE Installation Standards, as prescribed by two documents: California Conventional Home Weatherization Installation Standards and California Mobile Home Weatherization Installation Standards.  These standards are intended to meet or exceed existing codes and regulations, and to conform to accepted building practices.  When a conflict exists between these installation standards and local codes, the more stringent requirement shall take precedence.  Copies of these installation standards manuals may be obtained by using the contact information provided in Section 1.3.

### Safety

Contractors must plan and conduct all work in a manner that is consistent with the safety of persons and property.  All work shall be conducted in compliance with reasonable and safe working practices and with applicable federal, state, and local laws.  For instance, the Contractor is responsible for complete compliance with California Occupational Safety and Health Standards.

It is the responsibility of each program contractor to establish and maintain a safety program for all work undertaken for the LIEE Program.  It is also the responsibility of each contractor to ensure that all employees observe safety rules by complying with all required safety precautions and regulations.  Contractors must ensure that their staff members receive appropriate training in the safe and proper use of the tools associated with the installation of each LIEE Program measure.

### Installation of Feasible Measures

It is the policy of the CPUC that LIEE Program Contractors must install all feasible measures unless they are specifically refused by the participating household.  If the installer determines that a measure cannot be installed, the reason shall be recorded and made available to the utility or its designee.

### Lead-Safe Practices

Lead-safe practices shall be employed when working with pre-1979 painted materials per Title 8 of the California Code of Regulations, Section 1532.1, and Title 17 of the California Code of Regulations, Section 36000, et seq.

### Site Clean-Up Policies

The Contractor must maintain all work sites and related structures, equipment and facilities in a clean, orderly condition during all work conducted under the LIEE Program.  Any unused or leftover materials, garbage and debris must be promptly removed from the customer’s premises by the Contractor and disposed of at the Contractor’s expense.  The customer’s premises must be left in a clean and orderly condition at the end of each day and at the completion of work.

### Weatherization of Mobile Homes

Mobile homes with open combustion furnaces or water heaters drawing air from inside the conditioned space may not have infiltration reduction measures installed under the LIEE Program.  In addition, ceiling insulation (and therefore attic duct reconnection) is not a measure for mobile homes.

## Measure-Specific Policies

### Introduction

This section describes Statewide LIEE policies and procedures that are specific to the installation of specific measures and minor home repairs. Two kinds of policies and procedures are covered: 1) non-feasibility criteria and 2) other policies and procedures.  Non-feasibility criteria formalize conditions under which measures may not be installed in specific homes.  In general, non-feasibility conditions refer to cases where a specific measure:

(	Is present,

(	Is refused by the customer,

(	Cannot be physically installed,

(	Cannot be installed without risk to the household or the contractor, or

(	Is prohibited by code or Program policy.

Other policies and procedures are those policies which typically tell when, where, and under what circumstances a measure can be installed.  Policies related to billing practices are excluded from this list, but may be covered by utility contracts with installation contractors.

Non-feasibility criteria and other policies and procedures are presented for the following LIEE Program measures and specific minor home repairs (MHRs):

| Caulking | Exterior Door Replacement (MHR) |
| --- | --- |
| Weather-stripping Doors | Window Replacement (MHR) |
| Ceiling Insulation | Glass Replacement (MHR) |
| Water Heater Insulation | Thread-Based Compact Fluorescent Lamps |
| Water Heater Pipe Insulation | Hard-Wired Compact Fluorescent Lamp Porch Light Fixtures |
| Cover Plate Gaskets | Evaporative Cooler Installation |
| Energy Saver Showerheads | Furnace Repair/Replacement (MHR) |
| Faucet Aerators | Water Heater Repair/Replacement (MHR) |
| Evaporative Cooler and Air Conditioner Vent Covers | Refrigerator Replacement |
| High Efficiency window/wall air conditioners |  |
| High Efficiency Central Air Conditioners | Duct Testing and Sealing |
| Air Conditioner Tune-Up |  |

### Caulking

Non-Feasibility Criteria.  Caulking shall not be applied:

(	If the existing caulking is functioning properly, even if not installed in accordance with current Installation Standards,

(	To cracks that do not penetrate the building envelope,

(	To cracks that are too wide to be caulked (wider than 5/8”) and must be repaired/patched, or

(	If customer refuses caulking.

Other Policies.  Three other policies relate to caulking.

(	For homes with lapped siding, caulk shall be applied in standard locations such as door thresholds, door stops, and gaps between different materials, etc.  However, seams between lapped siding must not be caulked.

(	When caulking is required above the first story, it shall be applied whenever the area requiring caulking is readily accessible.

(	Caulking should be applied to the interior of mobile homes only.

### Weather-Stripping Doors

Non-Feasibility Criteria.  Weather-stripping shall not be applied:

(	If the existing weather-stripping is functioning properly, even if not installed in accordance with current Installation Standards,

(	If the door is located between two conditioned or two unconditioned spaces,

(	To doors in multi-unit dwellings that separate the living space from heated hallway,

(	To doors (including frames) with a fire rating greater than 20 minutes,

(	When a functional storm door is present, or

(	If the customer refuses installation of weather-stripping.

Weather-stripping shall not be applied to appliance closet doors when:

(	The combustion appliance receives air from conditioned space (i.e. combustion air grills are present in the enclosure door or wall), or

(	Inadequate combustion air (as defined in the installation standards) is being supplied to the appliance.,

Other Policies.  Additional weather-stripping policies include the following.

(	(	The contractor may adjust existing weather-stripping in lieu of replacement only if existing weather-stripping is functional and creates a proper seal.

(	Door shoe and threshold combinations must be installed unless proven to be non-feasible.

(	A threshold should not be installed which exceeds 1" in height from the finished floor (1/2" in height for handicapped).

(	When the installation of a door shoe and threshold combination is not feasible for the following reasons, an automatic sweep may be used:

(	Medical reasons, such as wheelchairs or walkers, require that the floor be as flat as possible,

(	Metal doors cannot be cut to accommodate a shoe,

(	Doors open outward and do not overlap a floor surface when closed.  "Bumper" type thresholds may be used in this circumstance if a tripping hazard will not be created,

(	The installation of a proper threshold requires carpet cutting or repair to wooden or concrete sills, and

(	The door is unusually expensive and might be aesthetically damaged by cutting.

(	A stationary sweep can be used in lieu of an automatic sweep if a door shoe and threshold combination is not feasible and an automatic sweep cannot be installed.  The use of flip up sweeps is not allowed.

### Ceiling Insulation

Non-Feasibility Criteria Directly Related to Ceiling Insulation.  Ceiling insulation shall not be installed if any of the following criteria is applicable.

(	In accordance with Table 7-1, the existing insulation level precludes raising the R-value.

(	The roof is leaky or shows signs of water damage from leaks that have not been repaired.

(	Adequate venting is not present and cannot be installed per installation standard attic ventilation guidelines.

(	Hazardous electrical wiring or other hazardous conditions are present.

(	An enclosed cavity as defined in the installation standards is present.

(	Exhaust vents terminating in the attic cannot be vented to the outside.

(	Disconnected or damaged space heating / cooling ducts are present and cannot be repaired.

(	Attics having limited accessibility, as indicated when:

(	An inspector cannot gain safe physical access to all treated areas of the attic,

(	Clearance between top of ceiling joist and bottom of ridge board is less than 24 inches,

(	Structural obstructions, such as cross-members of truss systems, provide an opening of less than 18 inches, or

(	Access requires crawling over/under HVAC ducts, and clearance is less than 18 inches.

(	The structure is unsound and will not support the weight of the insulation and installer.

(	Knob-and-Tube (K&T) Wiring is present and:

(	Functioning knob-and-tube wiring cannot be certified safe by a C-10 contractor.

(	Abandoned K&T wiring is present that cannot be disconnected and certified as abandoned by a C-10 contractor.

(	Insulation over K&T wiring (live or abandoned) is prohibited by local codes.

(	The customer refuses installation of ceiling insulation.

Ceiling Insulation Levels.  The level of insulation to be installed varies across CEC climate zones and existing insulation levels, as shown in Table 7-1.

Table 7-1:  Ceiling Insulation Additions

| Climate Zone | Existing Insulation Level | Action |
| --- | --- | --- |
| CEC Climate Zones 2 - 15 | R-11 or less | Raise R-Value to R-30 |
|  | More than R-11 | Do not install additional insulation |
| CEC Climate Zones 1 and 16 | R-19 or less | Raise R-Value to R-38 |
|  | More than R-19 | Do not install additional insulation |

The actions listed in the third column of Table 7-1 refer to the final level of insulation, including any pre-existing values as well as insulation added under the program.  These levels apply on a forward-looking basis; homes previously receiving lower levels of ceiling insulation under the LIEE program will not be revisited to bring insulation up to the new higher level.

Figure 7-1 depicts the sixteen CEC Climate Zones.  Climate Zones 1 and 16 have heating degree-days in excess of 5,000.  Appendix A contains a list of the locations contained in each CEC Climate Zone.

Figure 7-1:  CEC Climate Zones

Other Policies Directly Related to Ceiling Insulation.  The other key policies that directly apply to ceiling insulation include the following.

(	In cases where local jurisdiction mandates more insulation than required by the LIEE Program, contractors may install higher levels only after forwarding documentation of the more stringent requirements to and obtaining written authorization from the LIEE Program Manager.

(	When no attic access exists, contractors will install one prior to installing ceiling insulation.  Minimum dimensions of the new opening shall be 30" x 22" or as required by local code.

(	If the gable vent is used for attic access, it must be hinged and large enough to provide access for the inspector.

(	In the event holes are observed in attic firewalls while performing attic insulation, the prime contractor will document and notify the property owner of the existing condition.

(	There is no minimum attic square footage required for ceiling insulation.

(	Homes having (a) separate attics, or (b) contiguous attics consisting of different sections with various crawl clearances shall have insulation installed only in the sections which have the specified 24” clearance.

Non-Feasibility Criteria Relating to Duct Reconnection.  Reconnection of ducts shall not be performed if:

(	The reconnection work would disturb asbestos or other hazardous material,

(	A combustion-related hazard exists with furnace or other fuel-burning appliance (e.g., excessive CO, cracked heat exchanger, backdrafting, etc.),

(	A health or safety hazard is present, such as sewage waste in the crawlspace, insect infestation, hazardous electrical wiring, or a structural hazard, or

(	The customer refuses duct reconnection.

Other Policies Relating to Duct Reconnection.  There are no other policies that apply to catastrophic duct leak reconnection.

Non-Feasibility Criteria Relating to Attic Ventilation.  Attic Ventilation shall not be installed if:

(	The existing venting already meets installation standards,

(	Tiled hip roof without overhang, soffit, or accessible frieze blocks,

(	Ceiling insulation is non-feasible,

(	Roof-mounted vents are the only option for adding venting, but the roof is tile, wood shingles, or in poor condition (e.g. more than three layers of roofing, roof unable to support additional vents),

(	The roof is a flat and/or built-up roof as defined in the installation standards, or

(	The customer refuses installation of additional vents.

Other Policies Relating to Attic Ventilation.  There are no other policies that apply to attic ventilation.

### Water Heater Blankets

Non-Feasibility Criteria.  A water heater blanket shall not be installed on any water heater if:

(	The existing blanket is functioning properly, even if not installed in accordance with current Installation Standards,

(	External insulation is specifically prohibited by the manufacturer,

(	A T&P relief valve, or gas shutoff valve, is not present, or is not located within 6” of the tank,

(	The T&P valve outlet is plugged or capped,

(	The tank is exposed to the weather,

(	A leak in the tank or water pipes is present,

(	Plastic piping (e.g., CPVC) is present in the cold or hot water lines to/from the tank,

(	The tank is located within 12” of a stove, range, or cook top,

(	The water heater tank capacity is greater than 100 gallons, or

(	The customer refuses installation of a water heater blanket.

A water heater blanket shall not be installed on a gas water heater if any of the following criteria are applicable.

(	A gas leak is present.

(	The vent pipe and/or draft hood is not properly installed including:7

(	No draft hood is present,

(	Two draft hoods are present, or

(	The vent pipe is defective or missing.

(	There is evidence of improper combustion and/or venting as characterized by: 7

(	Large accumulation of soot near the draft hood or on the floor underneath, or

(	Scorching at the draft hood or combustion chamber.

(	There is no appliance line (gas shut-off) valve present.

(	The combustion air supply is improper or inadequate according to installation standards as characterized by: 5

(	The absence of both low vents and high vents,

(	Vent size is too small,

(	Room volume is inadequate, or

(	The customer refuses modifications needed to create adequate combustion air supply.

(	Both burner access doors are missing.5

(	Internal insulation is R-12 or greater.

(	Perimeter clearance prior to blanket installation is less than 4” between tank and door, and less than 1” on sides and back.

A water heater blanket shall not be installed on an electric water heater if any of the following criteria are applicable.

(	Hazardous electrical wiring/conditions are present.

(	The thermostat cover plate(s) not present.

(	Internal insulation is R-16 or greater.

(	Perimeter clearance prior to blanket installation is  less than 1” on the front, sides, and back.

Other Policies.  Only water heaters supplying hot water to residential units receiving other program measures are eligible to receive water heater blankets.

### Water Heater Pipe Insulation

Non-Feasibility Criteria.  Water heater pipe insulation shall not be installed if:

(	The existing pipe insulation is functional and performing properly, even if not installed in accordance with current Installation Standards,

(	The water heater pipes are leaky,

(	The water heater pipes are exposed to the elements (especially sunlight, which can quickly degrade the insulation),

(	Less than 1 foot of continuous insulation can be installed,

(	Plastic piping (e.g., CPVC) is present in the cold or hot water lines to/from the tank,

(	Pipes are inaccessible or the configuration prevents proper installation, or

(	The customer refuses installation of water heater pipe insulation.

Other Policies.  There are no other policies relating to pipe insulation.

### Cover Plate Gaskets

Non-Feasibility Criteria.  Cover plate gaskets shall not be installed if any of the following criteria are applicable.

(	There is evidence of electrical malfunction or hazard, such as:

(	Electrical box not permanently attached,

(	Loose electrical connection, or

(	Signs of burning or charring or other evidence of hazardous wiring condition.

(	Gaskets are already present, even if not installed in accordance with current Installation Standards.

(	The cover plate is located on a wall between two conditioned or two unconditioned areas.

(	The cover plate is located behind furniture or major appliances that are too fragile or heavy to move.

(	Removal of the cover plate will damage the wall surface (paint, wallpaper, etc.).

(	The utility box is an odd size and standard gaskets will not work.

(	The customer refuses installation of cover plate gaskets.

Other Policies.  The following miscellaneous policies apply to cover plate gaskets.

(	All broken, cracked, or missing cover plates shall be replaced.

(	All gaskets must be contractor-installed.  No gaskets are to be left behind for customer installation.

### Energy-Saver Showerheads

Non-Feasibility Criteria.  Energy-saver (i.e. low-flow) showerheads shall not be installed if the following criteria are applicable.

(	The shower arm and ball joint are not made from the same material.

(	The existing showerhead(s):

(	Have a flow rate less than or equal to 3.0 gpm and are properly installed, or

(	Are required for medical reasons.

(	The existing shower arm:

(	Is made of plastic,

(	Is cracked, broken, or missing, or

(	Requires removal.

(	The shower is not mechanically functional.

(	Standard metal adapters (i.e. American Standard(, Gerber(, and Price Pfister() will not work.

(	Piping is in such poor condition that showerhead installation could cause plumbing problems.

(	The customer refuses installation of low flow showerheads.

Other Policies.  The following miscellaneous policies apply to energy-saver (low flow) showerheads.

(	All existing showerheads with a flow rate greater than 3 gpm flow shall be replaced with low-flow showerheads.

(	Replaced showerheads may be left with the customer or the property manager only if requested.

### Faucet Aerators

Non-Feasibility Criteria.  Faucet aerators may not be installed if:

(	Aerators are already present and operating properly, even if not installed in accordance with current Installation Standards,

(	The faucet has a special fitting for attaching an appliance (e.g., portable dishwasher),

(	The faucet does not provide hot water,

(	The faucet or faucet threads are found to be damaged and/or leaky,

(	Removal of the existing aerator is likely to cause damage to the aerator or the faucet.

(	Standard aerators will not fit, or

(	The customer refuses installation of faucet aerators.

Other Policies.  There are no other policies with respect to faucet aerators.

### Evaporative Cooler and Window/Wall Air Conditioner Vent Covers

Non-Feasibility Criteria for Evaporative Cooler Covers.  Evaporative cooler covers shall not be installed if:

(	An existing evaporative cooler vent cover is functional and performing properly, even if not installed in accordance with current Installation Standards,

(	The vent(s) serving the evaporative cooler is (are) shared with a heating system,

(	The evaporative cooler is ducted with multiple supply vents/registers, and it is impossible to equip all of them with covers,

(	Water damage to the ceiling or wall area around the vent\register is evident and cannot be repaired,

(	The vent/register opening is so close to the wall or ceiling that proper installation of the cover is impossible,

(	An external cover is already present, or

(	The customer refuses installation of evaporative cooler vent covers.

Non-Feasibility Criteria for Wall and Window Air Conditioner Unit Covers.  Air conditioner covers shall not be installed if:

(	An existing air conditioner vent cover is functional and performing properly, even if not installed in accordance with current Installation Standards,

(	Water damage to the window or wall area around the unit/vent is evident and cannot be repaired,

(	The vent/unit is so close to the wall that proper installation of the cover is impossible, or

(	The customer refuses installation of air conditioner vent covers.

Other Policies.  The following miscellaneous policies apply to evaporative cooler and window/wall air conditioner covers.

(	A shop-built wooden vent cover can be used only when a commercially manufactured cover is not available.

(	Each cover must be checked for proper fit.  Removal and reinstallation must be demonstrated to the customer.

(	In the cooling season when the cooler or window/wall air conditioner is in use, the Contractor can leave the cover uninstalled after the initial installation and customer instruction.

### Exterior Door Replacements

Non-Feasibility Criteria.  An exterior door shall not be replaced if:

(	The door can be repaired rather than replaced,

(	The door is structurally sound and provides an adequate barrier to infiltration,

(	Door jamb is not structurally sound and cannot be repaired or replaced within the Minor Home Repair cap, or

(	The customer refuses door replacement.

Other Policies.  There are no other policies relating to door replacement.

### Window Replacements

Non-Feasibility Criteria.  An exterior window shall not be replaced if:

(	The window can be repaired rather than replaced,

(	The window is structurally sound and provides an adequate barrier to infiltration,

(	The window is located above the first floor of a structure and installation will present unsafe working conditions, or

(	The customer refuses door/window replacement.

Other Policies.  All window replacements require written pre-approval from the LIEE Program Manager.

### Glass Replacement

Non-Feasibility Criteria.  Window glass shall not be replaced if:

(	A small hole, ¼” or less, is present and can be patched with clear silicone or clear glass repair tape,

(	There is only one crack less than 6” long, extending from edge to edge, that can not come loose from the frame to pose a safety hazard,

(	The complete window will be replaced, or

(	The customer refuses glass replacement.

Other Policies.  The following miscellaneous policies apply to glass replacement.

(	When only one pane in a dual pane window is cracked, the unit does not require repair/replacement.  If one pane of a dual-pane window is broken, all shards must be removed.

(	Polycarbonate glazing is allowed only with written pre-approval from the LIEE Program Manager.

### Thread-Based Compact Fluorescent Lamps (CFLs)

Non-Feasibility Criteria.  A thread-based CFL shall not be installed:

(	In a socket/fixture that is nonfunctional,

(	In a fixture that already has a functional CFL,

(	If hazardous conditions exist at the socket/fixture,

(	In a circuit that is controlled by a solid-state timer,

(	In a circuit that is controlled by a dimmer that is not compatible with available CFLs,

(	In a fixture located in a storage room, closet, or multifamily common area,

(	In any fixture that is not operable by the customer (i.e. on their electric meter/bill), or

(	If the customer refuses installation of CFLs.

Other Policies.  A maximum of five CFLs may be installed at any home.

### Hard-Wired Compact Fluorescent Lamp Porch Light Fixtures

Non-Feasibility Criteria.  A hard-wired CFL porch light fixture shall not be installed:

(	If the existing location of the fixture is not suitable,

(	If a thread-based CFL will fit in the existing fixture,

(	In an electrical box that is substandard and/or cannot be properly secured,

(	Where wiring is substandard, in a deteriorated condition, and/or rewiring is necessary,

(	In a circuit that does not operate properly (e.g., defective switch),

(	In a circuit that is controlled by a solid-state timer,

(	In a circuit that is controlled by a dimmer that is not compatible with available hard-wired CFL fixtures,

(	Existing fixture is in a wet location, and a grounding conductor is not available,

(	If the existing fixture is not on the customer’s electric meter/bill, or

(	If the customer refuses installation of CFL fixture(s).

Other Policies.  There are three other policies relating to hard-wired CFL porch light fixtures:

(	Hard-wired CFL porch light fixtures may be installed only in single family non-mobile homes,

(	No more than an average of three fixtures may be installed, and

(	Replaced porch light fixtures may be left with the customer or the property manager only if requested.

### Evaporative Cooler Installation

Non-Feasibility Criteria for Wall/Window Evaporative Coolers.  A wall/window evaporative cooler shall not be installed if:

(	The customer has an  operational evaporative cooler,

(	Proper electrical service is not present,

(	Substandard wiring exists (e.g., ungrounded outlets or decayed insulation and/or exposed wires)

(	No feasible window or wall location is available,

(	Exterior clearance requirements cannot be met,

(	Egress requirements cannot be met,

(	Wood windows are decayed or deteriorated,

(	Siding is decayed or damaged, or

(	The customer refuses installation of the evaporative cooler.

Other Policies.  There are two other policies for this measure:

(	Customer must have an operational refrigerated air conditioning unit, and

(	For single family homes and mobile homes, evaporative coolers are available only in CEC Climate Zones 10-16.

- Evaporative coolers may not be installed in multi-family homes.

### Furnace Repair and Replacement

Non-Feasibility Criteria for All Furnaces.  A furnace shall not be repaired or replaced if:

- The property is renter-occupied,

- Fuel used by the existing unit is not supplied by the utility providing LIEE Program services,

- The existing furnace is inaccessible,

- Ducts cannot be brought into compliance with the Duct Sealing Section of the WIS Manual.

- No furnace is present and no natural gas line or electric outlet is available to accommodate the installation of a furnace,

- The customer refuses furnace repair or replacement,

Non-Feasibility Criteria for (Central/Ducted) Furnaces in Conventional Homes.  A central furnace in a conventional home shall not be repaired or replaced if:

(	For roof-mounted units, the roof is not structurally adequate to support the installation,

(	For units in a confined location, adequate access and/or combustion air cannot be provided, or

(	Disconnected or damaged space heating ducts are present and cannot be repaired.

Non-Feasibility Criteria for (Central/Ducted) Furnaces in Mobile Homes.  A central furnace in a mobile home shall not be repaired or replaced if:

(	Required furnace drawing combustion air from outdoors, and/or furnace components or flue system that are listed and labeled for manufactured home installation, cannot be obtained,

(	For units in a confined location, adequate access and/or combustion air cannot be provided,

(	Depressurization by the forced air unit’s non-ducted return system adversely affects an open combustion appliance, and correction is not feasible,

(	Disconnected ducts or catastrophic leaks are present and cannot reasonably be repaired, or

(	A leaky belly-cavity or roof-cavity return exists and a central return system will not be installed.

Non-Feasibility Criteria for Wall/Floor (Non-Ducted) Furnaces.  A wall or floor furnace shall not be repaired or replaced if:

(	The location is confined, and adequate access and/or combustion air cannot be provided, or

(	Existing open combustion appliance is in a location prohibited by the replacement unit instructions or local code, and relocation to an approved location is not feasible.

Non-Feasibility Criteria for Installation or Repairs Requiring Crawl Space Access.  In the event that crawl space access is required for the installation or repair of wall/floor furnaces, the installation or repair of a furnace will be considered nonfeasible if:

(	Crawl space clearance is less than18” from the ground to the bottom of the floor joist system, or

(	Any of the following conditions is present in the crawl space area where access is required:  hazardous insect infestation; excessive ground moisture (standing water or mud); or sewage waste on ground or other unsanitary conditions posing a health and safety hazard.

Non-Feasibility Criteria for Central Air Conditioner Replacement.  Central air conditioner replacement as part of furnace replacement is non-feasible if:

- The heating system can be repaired with the existing refrigeration equipment intact,

(	For roof-mounted units, the roof is not structurally adequate to support the installation,

- Electrical service requirements cannot be met,

- System air flow is inadequate.

(	In mobile homes, a leaky belly-cavity or roof-cavity return exists, and a central return system will not be installed.

Non-feasibility Criteria for the Installation of Programmable/Setback Thermostats.  Programmable/Setback Thermostats shall not be installed:

(	If a programmable/setback thermostat is already present and operational.

(	If the measure is refused by the customer.

Non-Feasibility Criteria for HVAC Air Filters.  HVAC unit air filters shall not be replaced if:

(	A serviceable filter is already present,

(	The types of filters provided by the program are specifically prohibited by the appliance manufacturer,

(	Filter replacement would require removal of a flue, duct, or pipe,

(	The proper filter support or retaining device is not present and installation is not feasible, or

Other Policies.  The following other policies apply to furnace repairs and replacements.

(	Furnace repair or replacement may be provided only when the appliance fails NGAT, and correction cannot be achieved with Service/Adjustment by utility gas service personnel (or their designated representative).

(	Furnace replacements and major furnace repairs may be provided only if the residence is owner-occupied.  Service/Adjustment may also be conducted in renter-occupied homes.

(	A furnace will not be replaced if Title 24 provisions relating to alternations cannot be satisfied.

(	A furnace that is not abandoned or inaccessible and that cannot be made operable through servicing, fails the NGAT.

(	Furnace repairs and replacements will be provided only if the fuel used by the furnace is supplied by the utility providing LIEE Program services.

(	Furnace replacement will not include hazardous material abatement, major structural alteration, concrete work, painting, or floor covering.

(	A central furnace may be repaired only if the cost of repairing the unit would be less than 50% of the cost of replacement.  A wall, floor or direct vent furnace may be repaired only if the cost of repairing the unit would be less than 25% of the cost of replacement. (Do we need standards for when repairs are done, other than this cost criterion?)

(	An air conditioning unit may be replaced in conjunction with a furnace replacement if:

-	the unit being replaced is a combined forced air heating and central AC package system, also referred to as a dual-pack (i.e. the AC and furnace is manufactured as one unit and is housed in a single sheet metal housing); or

-	the furnace being replaced is part of a split forced air heating and AC system  and the AC evaporative coil and/or the outside system cannot be matched with the new furnace.

(	Replaced units must be de-manufactured in compliance with all laws and regulations.

(	Installer must have a C-20 license.

(	A programmable thermostat may be installed only if a furnace or central air conditioner is replaced ( a programmable thermostat is required by Title 24 when a central heating system and/or a central air conditioner is replaced.).  (What about when repairing furnace and thermostat is not working?)

(	Prior to installation, contractors installing programmable thermostats shall explain the operation of these thermostats and provide the customer an opportunity to refuse the measure.

(	Thermostats may be moved to resolve short cycling problems in mobile homes.

- (	HVAC filters may be replaced only as part of central furnace repair or central air conditioner replacement.

- (	Contractors who replace filters must show customers how to remove, clean and re-install the filters.

Natural Gas Water Heater Repair or Replacement

Non-Feasibility Criteria for Natural Gas Water Heater Replacement .  A natural gas water heater shall not be replaced if:

- The property is renter-occupied,

- Fuel used by the existing unit is not supplied by the utility providing LIEE Program services,

- The existing water heater is inaccessible.

- The drain line for the T&P valve or drain pan cannot be properly terminated outdoors or to an approved indoor drain if required by local code,

- Required access, clearance or combustion air cannot be provided,

- Structure/floor cannot properly and safely support the installation,

- No suitable mounting locations for seismic bracing are available,

- A safety hazard is present which cannot be repaired (e.g., vent system defect, nonconforming gas piping),

A watertight pan cannot be installed under the unit when required,

- A plumbing condition exists which prevents achieving satisfactory water pipe connections

A whole house fan is present, the existing water heater is in the attic, and a closed combustion unit cannot be installed,

- The unit is a central water heater serving more than one unit, or

- The customer refuses water heater replacement.

Non-Feasibility Criteria for Natural Gas Water Heater Repair .  A natural gas water heater shall not be repaired if:

- The property is renter-occupied,

- Fuel used by the existing unit is not supplied by the utility providing LIEE Program services,

- The existing water heater is inaccessible.

- Proper combustion air cannot be provided,

- A safety hazard is present which cannot be repaired (e.g., vent system defect, nonconforming gas piping),

- The unit is a central water heater serving more than one unit, or

- The customer refuses water heater repair.

Other Policies.  The following other policies apply to water heater repairs and replacements:

(	Water heater repair or replacement may be provided only when the appliance fails NGAT, and correction cannot be achieved with Service/ Adjustment by utility gas service personnel (or their designated representative).

(	Water heater replacements and major repairs may be provided only if the residence is owner-occupied.  Service/Adjustment may also be conducted in renter-occupied homes.

(	Water heater repairs and replacements will be provided only if the fuel used by the appliance is supplied by the utility providing LIEE Program services.

(	Water heater replacement will not include hazardous material abatement, major structural alteration, concrete work, painting, or floor covering.

(	A water heater may be repaired only if the cost of repairing the unit would be less than 50% of the cost of replacement.

### Refrigerator Replacement

Non-Feasibility Criteria.  Refrigerators shall not be replaced if:

(	Any refrigerator to be removed was manufactured after 1992,

(	The electrical outlet used by the existing refrigerator is not properly grounded and cannot be properly grounded,

(	Floor is not level and cannot safely support a new refrigerator,

(	The refrigerator is not accessible for removal (e.g., doors from room are too small, refrigerator is encased in tile),

(	Hazardous electrical conditions exist at the outlet used by the existing refrigerator, or

(	The customer refuses refrigerator replacement.

Other Policies.  Other policies that apply to refrigerator replacement include the following.

(	The minimum size for primary refrigerators replaced under the LIEE Program is 10 cubic feet.

(	One of the refrigerators replaced under the Program must be a primary refrigerator.  The primary refrigerator is the main refrigerator in the home, usually the kitchen refrigerator.

(	The size of the replacement refrigerator shall be approximately equal to the size of the existing unit.  When two refrigerators and/or freezers are exchanged for a single unit, the replacement unit may not be larger than the combined size of the two existing units, and may not be larger than 23 cubic feet.

(	Space must be physically large enough to accommodate the new refrigerator, with entrance and passageways sufficient to allow removal of the existing refrigerator.

(	Contractor shall dispose and recycle (de-manufacture) replaced refrigerators in an environmentally safe manner and in accordance with federal, state, and local regulations and codes.  Contractor represents that it has knowledge of the Metal Discard Act, effective January 1, 1994, which prohibits disposal of refrigerators/freezers in landfills.

### High Efficiency Window/Wall Air Conditioner

Non-feasibility Criteria.  High efficiency window/wall air conditioners shall not be installed:

(	If the air conditioner to be replaced is operational and is less than 15 years old..

(	If electric service requirements cannot be met.

(	If a structurally sound mounting platform and/or suitable mounting location is not available.

(	If the measure is refused by the customer.

Other Policies.  The following other policies apply to this measure:

(	High efficiency window/wall air conditioners may be installed only in CEC Climate Zones 10-15 (see Appendix A for a list of cities comprising these Climate Zones).

(	Replacement unit must have a minimum EER of 10.7.

(	Replaced units must be de-manufactured in compliance with all laws and regulations.

(	All units must be adequately supported and braced.

(	Extension cords are permitted only if allowed by local code and are less than five (5) feet in length.

High Efficiency Central Air Conditioners

Non-feasibility Criteria.  The replacement of high efficiency air conditioners will be considered non-feasible if:

- The existing air conditioner is not operational.

- The central AC has a SEER greater than 9.0.

- The property is renter-occupied,

- Existing system is a combined HVAC unit and the unit has not passed the pre-weatherization NGAT,

- For a roof-mounted unit, the roof is not structurally adequate to support the installation,

- Electrical service requirements cannot be met,

- Ducts cannot be brought into compliance with the Duct Sealing Section of the WIS Manual.

- Existing HVAC unit is a combined fuel unit and the gas is not provided by one of the IOUs,

- Duct system is inadequate,

- Split system refrigerant line set is inadequate,

- Customer refuses.

The unit is a mobile home, and either if the following conditions is present:

- Depressurization by the FAU non-ducted return system adversely affects an open combustion appliance, and correction is not feasible, or

- Abandonment of a leaky belly-cavity or roof-cavity return is required but not feasible.

In the event that the replacement of the central air conditioning system requires attic or crawl space access, replacement will be considered non-feasible if:

- There is hazardous insect or pest infestation,

- There is excessive ground moisture (standing water or mud),

- There is sewage waste on the ground or other unsanitary conditions posing a health and safety hazard.

Non-feasibility Criteria for Programmable/Setback Thermostats.  Programmable /Setback Thermostats shall not be installed:

(	If a programmable/setback thermostat is already present and operational.

(	If the measure is refused by the customer.

Other Policies.  The following other policies will apply to central air conditioner replacements:

- Central air conditioner replacements will be offered only in Title 24 climate zones 14 and 15.

(	A programmable/setback thermostat may be installed only if a central air conditioner is replaced (a programmable thermostat is required by Title 24 when a central air conditioning system is replaced).

(	Prior to installation, contractors installing programmable thermostats shall explain the operation of these thermostats and provide the customer an opportunity to refuse the measure.

(	Thermostats may be moved to resolve short cycling problems in mobile homes.

(	HVAC filters may be replaced only as part of central furnace repair or central air conditioner replacement.

(	Contractors who replace filters must show customers how to remove, clean and re-install the filters.

(	Replacement of refrigerant line sets is beyond the scope of this Program.

Duct Testing and Sealing as a Program Measure

Non-feasibility Criteria for Duct Testing as a Program Measure.  Duct testing as a program measure will be considered non-feasible if:

- Ductwork contains excessive damage or deterioration that would preclude proper testing,

- If the replacement of 40 or more feet of duct in unconditioned space would be necessary,

- Ductwork contains or is made of asbestos,

- Ductwork is insulated or sealed with asbestos,

- Ductwork is inaccessible or an unsafe condition exists, causing duct testing to be unfeasible,

- A hazardous condition exists requiring repair or replacement per NGAT policy, and repair/replacement is not feasible,

- Forced air heating unit is inoperative and cannot be repaired,

- The customer refuses.

Non-feasibility Criteria for Duct Sealing as a Program Measure.  Duct sealing as a program measure will be considered non-feasible if:

- Duct leakage is below the threshold leakage per the Duct Testing and Sealing Form,

- If the replacement of 40 or more feet of duct in unconditioned space would be necessary,

- A natural gas appliance hazard exists, and repair is not feasible,

- Duct system has been abandoned,

- Duct system is damaged and deteriorated beyond repair,

- A health or safety hazard is present, such as insect infestation, hazardous electrical wiring, or structural hazard, which prevents safe access to the duct system,

- Ducts and/or components are made of or insulated with asbestos,

- Access to the duct system does not meet minimum accessibility criteria specified in the Program Policy & Procedures Manual,

- For ducts in the crawl space: sewage waste is on the ground, or excessive ground moisture (standing water or mud) is present,

- Customer refuses.

Other Policies.  The following other policies will apply to duct testing and sealing when conducted as a free-standing measure:

(	Duct testing and sealing as a measure will be offered only in Single Family and Mobile Homes,

(	Duct testing and sealing as a measure will be offered in all Climate Zones for Homes with Natural Gas Space Heating provided by the IOU,

(	For homes with electric space heat provided by the IOU, duct testing and sealing as a measure will be offered only in Climate Zones 10-16,

(	Duct sealing is not required unless initial leakage is at least 28% of air flow.

(	In order to be considered as a Program measure, potential duct leakage reduction must be at least 13% of total fan flow.

(	For a duct system to be considered sealed, (a) the duct leakage reduction must equal or exceed 13% of air flow; (b) the final duct leakage must be reduced to less than 15% of airflow, or, if this cannot be reached, all accessible duct leaks must be sealed as verified by smoke tests.

- The utility or its designee will verify initial and final duct leakage rates, in accordance with the procedures in the Duct Testing Standards of the WIS Manual.

Duct Testing and Sealing as a Means of Title 24 Compliance

Non-feasibility Criteria.  Since Title 24 is a state law, there are no Program non-feasibility criteria.  When required by Title 24, duct testing and sealing must conform to all provisions of Title 24 (applicable to conventional homes but not mobile homes).

Other Policies.  The provision of duct testing and sealing as a means of Title 24 compliance will be governed by the following other policies:

- Beginning October 1, 2005, when “alterations” are made to HVAC systems in conventional homes located in climate zones 2 & 9-16, the following requirements for duct testing and duct sealing apply:

1)	HVAC Contractors must:

a)	Ensure that duct leakage is at an acceptable level—which involves duct testing and, as needed, duct sealing, or

b)	Utilize a Title 24 High Efficiency Alternative in lieu of duct testing and sealing.

2)	When duct testing and sealing is performed:

a)	All accessible ducts must be sealed by the HVAC Contractor, and

b)	A minimum of 1 in 7 of each contractor’s completed installations must be verified by a HERS Rater to be in compliance with Title 24 Standards.

3)	Exceptions:  Duct testing and sealing requirements do not apply when:

a)	Total length of ducts located in unconditioned space is less than 40 linear feet.

b)	Ducts are constructed, insulated, or sealed with asbestos.

c.) Ducts have been previously verified by a HERS rate to be incompliance with Title 24.

- HERS verification of duct testing and sealing is tied to the building permit process.  Under Title 24, a building permit for an HVAC alteration cannot be finalized until a form CF-6R has been completed and submitted to the HERS rater and a form CF-4R is completed by a HERS Rater and submitted to the Building Department.

- The Title 24 definition of an HVAC “alteration” is:

1)	Installation or replacement of an HVAC unit (central furnace and/or air conditioner or heat pump), or

2)	Replacement of any of the following major HVAC components (the entire component, not a part within the component):

a)	Air handler

b)	Condenser (outdoor unit)

c)	Indoor coil

d)	Furnace heat exchanger

e)	More than 40 feet of new ductwork in unconditioned space

By contrast, a “repair” is servicing an HVAC unit or fixing/replacing a defective part within a major component—such as the fan motor or blade within the air handler, or the  compressor or cooling fan motor or blade within the condenser (outdoor unit).  “Repairs” are not within the scope of Title 24 standards and do not mandate duct testing and sealing.

- When Title 24 duct testing and duct sealing is required, final duct leakage must be in conformance with the following criteria:

#### Primary Duct Leakage Options

1)	Measured duct leakage shall be less than 15% of fan flow, or

3)	Measured duct leakage shall be reduced by more than 60% compared to measured duct leakage prior to the alteration, with visual inspection and smoke test by a HERS Rater performed to verify that all accessible leaks have been sealed.

Secondary Duct Leakage Option.  If it is not possible to meet the duct sealing

options listed above:

1)	All accessible duct leaks shall be sealed, and

2)	A HERS Rater shall verify that all accessible leaks have been sealed by performing a visual inspection and a smoke test.

- Conformance with Title 24 duct leakage criteria must be verified by a HERS Rater for a minimum of 1 in 7 jobs completed by each HVAC contractor.  However, Title 24 gives the homeowner the option to request HERS verification for his/her home, rather than being part of a 1-in-7 sample.

# Footnotes

Note that programmable and setback thermostats are not provided as free-standing measures.  They are provided only in conjunction with furnace replacements when required by local code.  They are included here because their installation is governed by a variety of non-feasibility conditions and other policies.

Duct testing and sealing is offered as a distinct measures, as well as a means of complying with Title 24 when alterations are made to the participating home.  Different policies apply to these two applications.

Furnace filters are replaced only in conjunction with furnace repairs.

This restriction covers two situations: when existing vents are inadequate, and when adequate vents cannot be added as a minor home repair.

An appendix to the Weatherization Installation Standards Manual establishes guidelines for increasing the vent air, i.e. changing 1/8” mesh to 1/4” mesh, how to enlarge the vents, etc.

An appendix to the Weatherization Installation Standards Manual addresses all aspects of vent area determination.

This covers two situations that are covered as minor home repairs: Reconnecting exhaust vents and/or addition of exterior venting as covered in the WIS manual.

When these conditions exist, installers must contact the designated utility personnel.

An appendix to the Weatherization Installation Standards Manual establishes guidelines for increasing the vent air, i.e., changing 1/8” mesh to 1/4” mesh, how to enlarge the vents, etc.

Faucet aerators are integrated into the energy-saver showerheads section of the WIS manual.

Service/Adjustment of an appliance entails providing services that are within the scope of the gas service department for customers in general.

Note that NGAT fails include cases where a furnace is non-operable, or where no furnace is present in the case where another gas appliance is used for space heating.

A water heater will be considered to fail the NGAT if it has a leaky tank.